Loma Linda University's

Advanced Technology Center

puts virtual reality spin-offs

to work in the clink

by Dave Warner

0

Medical Rehabilitation,

Cyber-Style

We treated a patient in his early 20s with a traumatic brain injury-he'd been shot in the head during a gangfight. When he recovered from the trauma, he was cognitively intact but didn't have the capacity to generate original speech. He only could repeat words that he heard. Using the VPL DataGlove and a gesture-to-speech system, the patient was able to freely communicate without having to hear something. By gesturing spontaneously, he could say, "Can you please help me?" or "I need to go to the bathroom" or "I'm hungry" or "I'm in pain" or "May I have a glass of water?" These statements are simple, but Judging from his facial expressions, he was empowered by the capability to communicate. It was an emotional experience for him. And for us, too.

The mission of the Advanced Technology Center at Loma Linda University Medical Center, in Loma Linda, Calif., is to develop and apply advanced enabling technologies-including human-computer interface tools -for medicine. We're in the process of developing applications for these new technologies and putting them to work. We started with an exploration of treating problems associated with Parkinson's disease, Huntington's Chorea, Alzheimer's disease, and physical disorders resulting from severe accidents and birth defects.

We intend to continue to show how advanced technologies-supercomputers, neural networks, electroencephalogram (EEG), and interface devices, and sensors such as VPL Research's DataGlove and Biocontrol System's BioMuse-can help improve the quality and efficiency of patient treatment

and clinic research, and, by enhancing the quality of patients' lives, reduce future health-care needs and costs.

Through our program at Loma Linda Advanced Technology Center, we are proving the benefits of using these advanced technologies, and we are identifying potential markets. Basically, what we're doing is "medical intelligence."

Although we employ the VPL DataGlove, Eric Gullichsen at Sense8 and Chris Gentile of Abrams Gentile Entertainment will provide us with a modified, Amiga-based, Mattel Power Glove (Nintendo game system controller) to help patients communicate. Also, our center will serve as a beta site for the upcoming Texas Instruments/Abrams Gentile Entertainment collaboration, a lowcost virtual reality game system.

We've identified four broad areas in which these types of human-computer inter

The goal is a single extendable system that serves as an intuitive

therapeutic device and simultaneously provides

0

information access for

physicians, therapists,

0

patients, and scientists.

faces can facilitate and enhance clinic efforts:

0 Rehabilitation, in which combining glove input devices with advanced sensors and real-time processing can help empower patients and assess the effects of therapy and rehabilitation

0 Education, in which VR systems and interactive multimedia technologies can improve information presentation and manipulation 0 Medical informatics, in which VR systems and local- and wide-area networks can help physicians acquire, access and manipulate data, and

0 Basic medical research, in which we use the interface devices for quantitative assessment of human performance-in other words, to help us discern new facts.

THE NEURO-REHAB WORKSTATION

In rehabilitation, we're constantly seeking to improve the measurement of human performance and therapeutic efficacy (we always want to know if we're achieving the desired effects). The recent developments in human-computer interface hardware and software, data analysis, and expert systems help considerably. For instance, the use of devices such as VR gloves to measure handmotion dynamics shows great promise in therapy.

For more than a year, we've been developing the conceptual basis for a comprehensive neurorehabilitation workstation (NRW). The NRW will enhance therapeutic ap

proaches and the delivery of health care by aiding in diagnostics and measuring. It also can help leverage basic research results into therapist or physician care across more patients (potentially addressing multiple health-care markets: medical, sports, and consumer).

The NRW will integrate data-acquisition devices, interface technologies, advanced analytical techniques, and multisensory rendering capabilities. It comprises pressure sensors, biofeedback, intuitive and versatile human-computer interfaces, and superprocessing. The NRW combines inputs from EEG, electromyogram (EMG), the DataGlove, and BioMuse and TekScan sensors, and uses Crystal River Engineering's 3-D sound "Convolvotron" digital signal processor for spatial rendering of sound and the Al-resident "Angel" neural network (to monitor patient/therapist interaction, identify data trends and patterns, and adapt the system for user feedback). Custom software is being developed for this system.

These 1/0 devices connect to an external module, and a high-speed bus routes data to a central multitasking server and the rendering subsystem for immediate feedback. Data management tasks include linking the input-device data with the patient's records and specifying sensor-specific data formats and structures. The system monitors a user's actions, learns from them, and adapts by varying aspects of the system's configuration to optimize performance.

The system also will perform automated detection of trends and correlations using fuzzy logic and neural net combinations. If the NRW detects areas worthy of further investigation, it will alert the operator.

We envision the NRW interlinked through LANs and WANs and with research workstations, education workstations, and physician workstations (the latter for medical informatics). The goal is a single extendable system that serves as an intuitive therapeutic device and simultaneously provides information access for physicians, therapists, patients, and scientists.

Effective therapeutic treatment relies on comparative evaluation of a patient's progress or digression. Often, the nature of changes in a patient's condition is quite subtle, even imperceptible, if you measure these changes through the traditional, subjective, nonquantitative techniques such as observation (a physician examines a patient, puts the patient through several tests, then estimates the patient's performance level).

With devices such as the VR glove, we can perform these same tests to acquire and analyze specific data measurements for each hand movement, no matter how small. We can quantify physical performance. We also will be able to use the DataGlove to study

the effects of medication on motor performance over time.

We've already used the DataGlove to record, simulate, and discriminate for Parkinson's disease, a progressive neurological disease characterized by muscular tremor and impaired movement. We use, in conjunction with the DataGlove, a UNIX-based computer, the Kubota Titan 3000 (formerly Stardent), and the Advanced Visualization System (the national visualization standard) to analyze hand motion-10 joints simultaneously-in patients with Parkinson's disease.

Another common problem in rehabilitation is a patient's lack of motivation. We found that when patients use an interactive, natural user interface to play with virtual objects, they get more out of a session than they do when there's only a therapist there, coaching them. They're psychologically engaged in doing something.

Additionally, patients who can't pick up certain objects or can't enjoy freedom of movement in the real world can pick up those objects or practice certain motions in the virtual world. This way, we can accelerate their rehabilitation and create a way to assess certain disorders quickly and accurately.

MEANING FROM GESTURES

A good example of using the VR glove and gesture-to-speech system involves a young woman in her teens. She was coming out of a coma with brainstem encephalitis (inflammation of the brainstem through trauma or meningitis). She could not open her eyes, and she could not make facial expressions. But she did have the use of one hand, and she could make simple, very slight gestures with it. We were very concerned about trying to determine her cognitive capabilities, because when we asked her a question, she'd attempt to gesture, but we had to interpret whether she really meant to make that gesture.

We put the DataGlove on her hand and told her to make specific gestures-move her index finger for "yes," her pinky finger for "no." Then we asked her questions such as "Are you feeling any pain?" and "Do you know where you are?" She'd move slightly to gesture, and if the computer didn't recognize the movement immediately, she would search the "gesture space" until she heard the auditory feedback from the computer. That indicated to us that she was indeed responding. This kind of situation can happen in every rehabilitation clinic, every hour of every day.

THE CHALLENGES

To achieve these results on a greater scale will take commitments from many people.

The awful part about that case study occurred after our successful communication. We had to take the glove away from the patient. We have hundreds of patients but only one available system.

The NRW has great potential in all kinds of rehabilitation-psychological and physical. First, we must identify potential users (to include them in the design process), classify user tasks and actions (for monitoring and analysis), and develop simulations (therapist/patient scenarios).

Meanwhile, we need to identify and acquire rapid prototyping tools (code generators, graphical user interface libraries, and general CASE tools) and develop databases for design, development, and implementation. We need to do iterative design and formalize testing procedure usability. We must formalize evaluation methods for the successes we achieve when patients use such novel devices.

We also have to consider distributed processing issues-tasks to be performed by the central workstation (monitor therapists' schedules, perform automated "intelligent" data analysis, access external online databases, and record and analyze user interactions and system actions) and tasks to be performed by peripheral workstations (configure interface displays, record local user interaction and upload related data to the central workstation, manage temporary data archives, and contain online help and tutorial).

The NRW has great potential in all kinds of rehabilitation-psychological and physical. First, we must identify potential users (to include them in the design process), classify user tasks and actions, and develop simulations.

Efforts to implement these technologies on a widespread basis are impeded by the lack of standard platforms and interfaces, inaccessible file formats, industrial inertia geared toward building bombs and missiles, and the medical community's lack of time, technical expertise, and adequate budgets. Beyond those concerns, the NRW's overall success will depend on:

Creation of a development environment driven by clinical needs

Modular design (for distributed processing and adaptability)

Integration of several data-input devices into one platform within a common interface protocol, and

Implementation of machine-resident intelligence (neural nets, fuzzy logic) on several levels.

Over the short term, we want to provide an open hardware platform and modular infrastructure that will expedite the implementation of new technologies in the clinic and augment clinical therapy with new methods of interaction and analysis.

Although the NRW was developed specifically for the rehab clinic, we've presented a design that we hope is generic enough to act as a standard for similiar applications. Now we must obtain (and retain) consistent, nontethered funding. Once we get it, we'll

equip ourselves with powerful tools for characterizing the complex nature of normal and impaired human performance, which will directly benefit therapists, technicians, physicians, researchers, and, most importantly, patients.

Our program and the NRW would not have been possible without Doug Will, dean of the School of Medicine, Pat Castelaz, director of the lab at the Advanced Technology Center, and Jeff Sale and Steve Price of the Neurology Research Center from Loma Linda University Medical Center. The gesture-to-speech system software was written by Walter Greenleaf of Greenleaf Medical Systems in Palo Alto, Calif.

Dave Warner is an M.D./Ph.D. candidate and cognitive neuroscience researcher at Loma Linda University's Neurology Research Center. He also

runs the Loma Linda-based Center for Really Neat

Research and is a program advisor for the "Medicine Meets Virtual Reality" forum planned for June 1992.