# Attachmment 2

Diagram of the device for transmission of the physiological information

using infrared channel

Dispersed infrared radiation

LED LED  LED

Biosensors          Transmitting unit

1 2   3  4 5   6

Amplifier                 Encoding unit

Autonomous power source

# This is a diagram of the wearable part of the device

Size: 85mm by 120mm by 30 mm (without biosensors)

1 – ECG lead D; 2 – ECG lead A; 3 – ECG lead I; 4 – venous - arterial pulsing; 5 – pulmonary ventilation; 6 – changes in chest perimeter (set of biosensors can be adjusted to your requirements)

Dispersed                             infrared                               radiation

Photodetector           Photodetector                                   Photodetector

Receiving and decoding unit                 Unit for preliminary processing

of the signals

to the recorder

Data display                                           Power converter

220 V, 50 Hz

# This is the diagram of the stationary (receiving) part of the device

Size: 230mm by 280mm by 180 mm

Number of photodetectors can be up to 15; the distance between the main part of the stationary unit and photodetector, as well as between the other photodetectors is up to 15 m.